## ------------ WORK-IN-PROGRESS ----------- ##

# Alignment/Discussions on Task 4.1

## Date:

11 February 2025

## Attendees:

- Tuhfe

- Irene

- Bart

- Wolfram

## Discussion items

### Connections/dependencies with other tasks:

- Task 3.4 (Demonstration cases)

  - Current discussion ongoing to make parameters/aspects of the different case studies available

    - e.g. end of life actions (life extension, repowering)

    - expected in the coming weeks

    - We expect this to help clarify the problem formulation for optimization

  - case study #2 (Lillgrund)

    - could be a suitable starting example for optimization

  - case study #3 (co-design)

    - potentially to be considered at a later point

- Task 3.1 (Economic impact)

  - Also touches on optimization aspects -> we need to ensure alignment 4.1 <-> 3.1

  - They plan an exercise on Lillgrund (case study #2)

    - should provide insights for optimization

  - Quantization of loads and merging into overall revenue streams

    - ongoing topic, we need to ensure alignment/exchange

- Task 3.2 (societal/environmental impact)

  - qualitative vs. quantitative optimization is clearly a challenge

  - ongoing topic, need to ensure alignment

### Discussion of scope of 4.1:

- For now: Focus on operational use cases, i.e. existing wind farm, rather than co-design

  - Lillgrund a very good starting example

    - Assumption: findings made for Lillgrund should be applicable (or easily portable) to other windfarms

- Long-term optimization vs. "real-time" optimization

  - At least for now: focus on long-term

    - Time scale is years rather than days or weeks

    - examples of decision variables

      - down-regulation strategies (see below)

      - repowering

        - increasing overall WF power capacity

        - but also possibility of repowering some and removing other turbines

- The following decision variables were discussed in more detail:

  - Down regulation

    - Note the separation from Task 2.3, which discusses higher-frequency aspects

    - variables in down-regulation:

      - different modes (delta-mode, custom power mode, ...)

      - level of down-regulation (% )

      - ENGIE might be able to provide us with practical insights

  - Repowering

    - Example study: German wind farm (Schkortleben?)

      - master student investigation/survey

      - this wind farm is probably going to be increased in size (WTs added)

        - but some other constraints exist (e.g. height)

  - Cable layout optimization

    - new PhD student working on this at DTU

    - Samuel also working on this?

    - related to IEA systems engineering task

### General conclusions on guidelines/paradigms for 4.1:

- Programming language: python

- High flexibility:

  - aim for modular structure

  - it should later be possible to easily exchange modules

- Conceptual structure:

  - Surrogate models considered as one block

  - Metrics evaluation (cost functions) is a separate block

  - There was some unclarity about this during 3.1 presentation, but this has seemingly been resolved

Questions:

Irene:

Case studies:

Case study #0: Risø Field Tests for external conditions, objectives, and constraints.

Case study #1: Environmental & Social Ramifications based on at least one WF operated by ENG-G in France and Las Tadeas WF from CAPITAL in Spain.

Case study #2: Adaptability to Offshore based on Lillgrund WF in Denmark.

Case study #3: Layout co-design with WFC Next generation WTs based on RAMBOLL 25MW generic offshore WT model.

Case study #4: Towards the end of life Extension or Repowering based on Schkortleben WF operated by ENGIE in Germany.

Overview of functionalities:

- Repowering: do we have the correct scenario in mind?

Tuhfe:

- How far should we deviate from FarmConners MATLAB integrated control toolbox, and how should we use it as a first template (i.e., recreate its functionalities)?

- Is everyone going to make their own framework? Because we were under the impression that there is a ‘separation’ of the ’ wind farm surrogate model and metrics calculation model. So (decision variables, scenario) -> load, power, noise -> LCoE, lifetime, AEP, bat prevention.

- Integration of static data, and relation to TWAIN decision support environment.

- Computation of (sub)optimal reference points.